Arc Hardware Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Arc Hardware Fault | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Arc board communication loss: No communication was established between ARM and Arc board for a certain time |

Suggestion

- 1.Disconnect the PV switch, turn off the battery, restart the inverter, and upgrade the firmware to the latest version.

- 2.Disable ArcCheck function.

- 3.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.