Arc SelfTest Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Arc SelfTest Fault | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Arc board detects CT magnetic ring wiring fault and causes self-check error |

Suggestion

- 1.Upgrade to the latest firmware and restart the inverter.

- 2.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.