BMS Low Temperature

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Low Temperature | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery low-temperature fault |

Suggestion

1.Upgrade the firmware to the latest version.

2.If the error persists,Use the T-BAT-Charger to check the detailed cell voltage and temperature information of each battery and provide to the SolaX technical support team for further analysis.If the T-BAT-Charger is unavailable,provide the inverter's SN number to the SolaX technical support team for further analysis.