BMS Temperature Sensor Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Temperature Sensor Fault | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery temperature sensor failure. |

Suggestion

- Update the BMS firmware.

Use the T-BAT-Charger to check the detailed cell temperature information of each battery, and provide to the SolaX technical support team for further analysis.If the T-BAT-Charger is unavailable,provide the inverter's SN number to the SolaX technical support team for further analysis.