BMS Type Mismatch

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Type Mismatch | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery type mismatch fault. |
| 2 | The master battery and the slave batteries are not the same model. |

Suggestion

1. Check whether the master’s and slave batteries’ model match, and upgrade the battery firmware to the latest version.

2. If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.