BMS Version Mismatch

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Version Mismatch | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery version mismatch. |
| 2 | The master battery’s and the slave batteries firmware version are not compatible. |

Suggestion

1. Upgrade the battery firmware to the latest version.

2.If the issue remains,provide the inverter's SN number to the SolaX technical support team for further analysis.