Communication Time Out 2030.5

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Communication Time Out 2030.5 | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | 2030.5 Communication Time Out: The communication to the dongle module is lost after enabling the 2030.5 function |

Suggestion

1.Please try to unplug and re-plug the dongle module;

2. If the issue remains,provide the inverter's SN number to the SolaX technical support team for further analysis.