FAN Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Fan Fault | General Alarm | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Fan Fault: Fan fault detection: only detect the fan fault while aged. Normal products do not report errors |

Suggestion

1.Upgrade the firmware to latest version.

2.Observe the external fan; if it keeps running, remove the fan and replug it.

3.If the fan does not run at all, remove the fan and clean it with a brush.

4.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2)A video of the fan's working status while the inverter is running. If there are any unusual noises, please record the sound as well.