Internal Communication Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Internal Communication Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Internal Communication malfunction |
| 2 | DSP and ARM communication abnormality |

Suggestion

- Upgrade the firmware to the latest version and restart the inverter.

- If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.