How to Reset Date and Time

Author: Daniel

Reviewer：Eason

Account

Issue introduction

Reset date and time

Operation guidance

Step1: Go to <Plant management> and find the station you want to change the date and time of.

Setting path：Me→Plant management→Plant

Step2：Go to <Edit plant> and change the time zone, then save the settings.

Setting path：<···>→Edit plant→Time zone→Save

Please note

- If the setting fails, please check your mobile network, ensure a stable connection, log out of your account, and then log back in. Follow the steps above to make the changes.