BMS AirSwitch Break

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS AirSwitch Break | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery circuit breaker disconnection failure. |

Suggestion

- 1.Turn off the circuit breaker on the battery. If the error persists, update both the inverter and battery to the latest firmware.Restart the inverter and battery.

- 2.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter and battery.
2)The status of the battery switch.