BMS Current Sensor Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Current Sensor Fault | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery current sensor failure. |

Suggestion

- Upgrade all batteries to the latest firmware. If the error persists, connect each battery to the system individually to identify the faulty battery.

- If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2)SN number of the faulty battery.