BMS Master&Slave Software Mismatch

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Master&Slave Software Mismatch | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | The master battery software and hardware do not match. |

Suggestion

1. Upgrade the battery firmware to the latest version.

2. If the problem remains, provide the inverter's SN number to the SolaX technical support team for further analysis.