BMS Over Voltage

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Over Voltage | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery cell overvoltage fault: The voltage of the battery cell exceeds 3.68V |

Suggestion

1.Upgrade the inverter firmware and observe for 2-3 days. If the error persists, use the T-BAT-Charger to check the detailed cell voltage information of each battery and provide to the SolaX technical support team for further analysis.If the T-BAT-Charger is unavailable,provide the inverter's SN number to the SolaX technical support team for further analysis.