BMS Software Protect

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Software Protect | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Slave battery software protection failure. |
| 2 | The slave battery is faulty. |

Suggestion

- Connect the batteries to the system one by one to identify the faulty battery.

- If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2) SN number of the faulty battery.