Battery Temperature High

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Battery Temperature High | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery over-temperature |
| 2 | Lead-acid battery temperature too high |

Suggestion

1.Ensure the battery's operating environment is not subjected to extreme high temperatures.

2.Update both the inverter and battery firmware to the latest version, then restart the inverter and battery.

3.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.