Battery Voltage Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Battery Voltage Fault | General Alarm | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery voltage fault: The battery voltage exceeds the range for normal operation. |

Suggestion

1.Measure the total battery voltage to ensure it is within the inverter's operating range.

2.If the total battery voltage is normal, update the firmware of both the inverter and the battery to the latest version, then restart the battery.

3.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.