DSP Boot Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| DSP Boot Fault | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Boot stuck failure of DSP |
| 2 | DSP upgrade failed or incomplete program, causing inability to run properly |

Suggestion

- 1.Try to upgrade the DSP again using a USB drive or remotely.

2.If the problem remains, power off the entire system, then attempt the firmware update again. If multiple attempts fail, provide the inverter's SN number to the SolaX technical support team for further analysis.