Earth Relay Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Earth Relay Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Earth relay malfunction |
| 2 | Relay self-check failed |

Suggestion

1.Try to disconnect the AC, DC switches, and battery switch. Then, restart the inverter.

2.Upgrade the firmware to the latest version.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.