Grid Voltage Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Grid Voltage Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Grid Voltage fault: The grid voltage exceeds the permissible limits set by the safety code. |

Suggestion

1.Check if the safety code settings are correct and measure the grid voltage to ensure it is within the normal range.

- 2.Update the firmware to the latest version.

- 3.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2) Measurement result of the grid voltage.