INV EEPROM Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| INV EEPROM Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | EEPROM malfunction |
| 2 | DSP EEPROM cannot be red/written |

Suggestion

- Upgrade the firmware to the latest version and restart the inverter.

- If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.