PV Voltage Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| PV Voltage Fault | Emergency Alarm | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | PV voltage fault: PV voltage exceeds the allowed range. |

Suggestion

1.Check if the PV panel voltage exceeds the MPPT range. If the voltage is too high, it is recommended to reduce the number of PV panels appropriately.

2.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.