RCD Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| RCD Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | RCD device malfunction |
| 2 | Leakage current detection circuit self-check failed |

Suggestion

1.Check the error frequency. If the error occurs occasionally, upgrade the firmware and restart the inverter. If the error persists,provide the inverter's SN number to the SolaX technical support team for further analysis.