Software Over Current Protection Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Software Over Current Protection Fault | General Alarm | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Over-current Fault: Software over-current protection triggered by sudden change of the current. |

Suggestion

1.Try to disconnect the AC, PV and battery power and set it aside for 30 minutes and then reboot the inverter.

2.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.