Tz Protect Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Tz Protect Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Hardware protection fault: Hardware protection triggered. |

Suggestion

1.If the error persists in on-grid mode, try updating the inverter firmware and restarting. If the error continues, provide the inverter's SN number to the SolaX technical support team for further analysis.

2.If the error occurs in off-grid mode, disconnect all loads and check if the error persists. If the error disappears, turn on the loads one by one to identify the problematic load. If the error persists even after disconnecting all loads, provide the inverter's SN number to the SolaX technical support team for further analysis.