BMS Break

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Break | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery circuit disconnection fault. |
| 2 | Battery voltage sensor disconnection fault. |

Suggestion

- Upgrade to the latest firmware and restart the battery.

2. If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.