BMS Charge Overcurrent

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Charge Overcurrent | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery charge overcurrent fault: The current of battery charging is too high |

Suggestion

- 1.If the error persists, upgrade the inverter firmware to the latest version.

- 2.If the error continues for a period and the battery stops working, Record a video of this phenomenon and send it to the SolaX technical support team.

- 3.If other battery errors occur, such as circuit fault or current sensor fault, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.