BMS Circuit Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Circuit Fault | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery circuit fault: the hardware of the battery has problems |

Suggestion

- 1.For T58 batteries paired with the BMS parallel box G2, check if the master-slave communication wires are crossed.

- 2.If paired with the BMS Parallel Box G1,provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2)The photo of the BMS Parallel box.