BMS Manufacturer Mismatch

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Manufacturer Mismatch | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | BMS Manufacturer Mismatch. |

Suggestion

1.Upgrade both the BMS and the battery to the latest firmware. If the error persists, provide the battery SN to SolaX technical support team for analysis.