BMS Relay Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Relay Fault | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery relay failure. |

Suggestion

- Update both the battery and inverter firmware to the latest version, then restart the battery multiple times.

If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2)A video of multiple restart attempts, including the display on the inverter screen.