BMS Temperature Difference Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| BMS Temperature Difference Fault | General | Battery alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | BMS Temperature Difference Fault. |
| 2 | The difference between the maximum and minimum battery temperature probes is higher than normal. |

Suggestion

1. Upgrade the battery firmware to the latest version.

2. Use the T-BAT-Charger to check the detailed cell temperature information of each battery, and provide to the SolaX technical support team for further analysis.If the T-BAT-Charger is unavailable,provide the inverter's SN number to the SolaX technical support team for further analysis.