Battery Relay Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Battery Relay Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Battery relay malfunction |
| 2 | Relay self-check failed |

Suggestion

1.Update the firmware to the latest version.

2.This error indicates a relay fault at the inverter's battery port. Try restarting the battery multiple times.
3.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2)A video of multiple battery restarts.