CT/Meter Check Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| CT/Meter Check Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | CT/Meter malfunction |
| 2 | CT/Meter cable connection incorrect |

Suggestion

- Check whether CT/Meter cable is correct and if the phase sequence is properly connected.

- Upgrade the firmware to the latest version. If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.