DCV Over Current Protection Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| DCV Over Current Protection Fault | General Alarm | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | DCV Fault: The on-grid component of DCV exceeds the threshold set by the safety code |

Suggestion

1.Update the firmware and restart the inverter.

2.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.