EPS Overload Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| EPS Overload Fault | General Alarm | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | EPS Overload Faul |

Suggestion

1.Reduce the EPS port load. If the error persists even after disconnecting all EPS port loads, check the wiring at the inverter's AC port.

2.Update the firmware to the latest version.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.