EPS Relay Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| EPS Relay Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | EPS relay malfunction |
| 2 | Relay self-check failed |

Suggestion

1.Try multiple grid-to-off-grid switches.

2.If the fault persists, update the firmware to the latest version. If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.