Grid Relay Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Grid Relay Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Grid relay malfunction |
| 2 | Relay self-check failed |

Suggestion

- Check if the N line is properly connected.

- Restart the inverter multiple times to check if the error occurs.

- Upgrade the firmware to latest version.

- If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.