Hard Limit Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Hard Limit Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Power overload fault in Australian safety code |
| 2 | Power exceeds hard limit under Australian safety code |

Suggestion

1.Under Australian safety code, if the feed-in exceeds the value set by the hard limit, an error will occur. If the error persists, check if the hard limit setting matches the actual conditions.

- 2.If the issue remains, provide the completed troubleshooting results to SolaX technical support team through video or images.Including but not limited to:
1) SN number of the inverter.
2) Hard limit settings.