Low Temperature Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Low Temperature Fault | General | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Operating malfunction caused by low temperature |
| 2 | Environment temperature too low |

Suggestion

- Upgrade the inverter firmware version to the latest.

- Confirm that the operating environment of the equipment meets the requirements specified in the manual.

- If the problem remains, take photos around the inverter’s enclosure and send them to the SolaX technical support team for analysis.