Mgr EEPROM Error

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Mgr EEPROM Error | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Mgr EEPROM Failure |
| 2 | ARM EEPROM read/write failure |

Suggestion

1.Upgrade the firmware to the latest version and restart the inverter.

- 2.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.