Port Over Current Warning

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Port over current warning | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Off-grid port over current warning |

Suggestion

1.Reduce the EPS port load. If the error persists even after disconnecting all EPS port loads, check the wiring at the inverter's AC port.

2.Update the firmware to the latest version.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.