Power Type Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Power Type Fault | General | Communication alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Power type mismatch |
| 2 | Machine power type self check failed |

Suggestion

- 1.Upgrade to the latest firmware.

2.Check if the SN number in the inverter's "About" menu matches the SN on the external nameplate. If there is a discrepancy, provide the inverter's SN number to the SolaX technical support team for further analysis.