Temperature Over Fault

Alarm Attribute

| Alarm name | Alarm Severity | Alarm Category |
| --- | --- | --- |
| Temperature Over Fault | General Alarm | Inverter alarm |

Possible Cause

| Cause ID | Possible Cause |
| --- | --- |
| 1 | Temperature over fault: The sampled temperature exceeds the allowed range, which could be low or high. |

Suggestion

- 1.Confirm if the installation environment meets the manual requirements;

- 2.Confirm if the Fan is working normally and if the duct is blocked;

- 3.Update the firmware to the latest version.

4.If the issue remains, provide the inverter's SN number to the SolaX technical support team for further analysis.