Over/Under Volt_Fault

Author: Daniel

Reviewer: Eason

FAQ/ EVC

Issue introduction

EVC reports UnderVolt_Fault.

Confirmation of basic information

[Photo]SN number of the EVC

Guidance for installer

Step1: Measure the AC terminal line voltage and phase voltage of the EVC.

| Phase voltage on the grid side | grid line voltage(line voltage＝√3×Phase voltage) |
| --- | --- |

Step2: Upgrade the EVC to the latest firmware version, then turn off the power and turn it on again.

Information check list

If you have completed the above <Guidance for installer>, and the problem is still not solved, please collect the following troubleshooting information and send them to the R&D.

1.[Photo]EVC information including SN and registration numbers.

2.[Photo]Phase voltage and line voltage at AC side.

| Phase voltage on the grid side | grid line voltage(line voltage＝√3×Phase voltage) |
| --- | --- |